City or County of _______________

Residential and Non-Residential

Checklist for Permitting Electric Vehicles

(Replace with City or County logo)

And Electric Vehicle Service Equipment (EVSE)

Please complete the following information related to permitting and installation of Electric Vehicle Service Equipment (EVSE) as a supplement to the application for a building permit.  This checklist contains the technical aspects of EVSE installations and is intended to help expedite permitting and use for electric vehicle charging.

Upon this checklist being deemed complete, a permit shall be issued to the applicant.  However, if it is determined that the installation might have a specific adverse impact on public health or safety, additional verification will be required before a permit can be issued.

This checklist substantially follows the “Plug-In Electric Vehicle Infrastructure Permitting Checklist” contained in the Governor’s Office of Planning and Research “Zero Emission Vehicles in California: Community Readiness Guidebook” and is purposed to augment the guidebook’s checklist.

| Job Address: | Permit No. |
| --- | --- |
| ☐ Single-Family ☐ Multi-Family (Apartment) ☐ Multi-Family (Condominium) ☐ Commercial (Single Business) ☐ Commercial (Multi-Businesses) ☐ Mixed-Use ☐ Public Right-of-Way |  |
| Location and Number of EVSE to be Installed: Garage ______ Parking Level(s) _____ Parking Lot _____ Street Curb _____ |  |
| Description of Work: |  |

| Applicant Name: |  |
| --- | --- |
| Applicant Phone & email: |  |
| Contractor Name: | License Number & Type: |
| Contractor Phone & email: |  |
| Owner Name: |  |
| Owner Phone & email: |  |

| EVSE Charging Level: ☐ Level 1 (120V) ☐ Level 2 (240V) ☐ Level 3 (480V) |  |
| --- | --- |
| Maximum Rating (Nameplate) of EV Service Equipment = ___________ kW |  |
| Voltage EVSE = ______ V | Manufacturer of EVSE: ___________________________ |
| Mounting of EVSE: ☐ Wall Mount ☐ Pole Pedestal Mount ☐ Other _____________ |  |

System Voltage: ☐ 120/240V, 1ϕ, 3W ☐ 120/208V, 3ϕ, 4W ☐ 120/240V, 3ϕ, 4W ☐ 277/480V, 3ϕ, 4W ☐ Other ________________

Rating of Existing Main Electrical Service Equipment = __________ Amperes

Rating of Panel Supplying EVSE (if not directly from Main Service) = ________ Amps

Rating of Circuit for EVSE: __________ Amps / __________ Poles

AIC Rating of EVSE Circuit Breaker (if not Single Family, 400A) = __________ A.I.C. (or verify with Inspector in field)

Specify Either Connected, Calculated or Documented Demand Load of Existing Panel:

- Connected Load of Existing Panel Supplying EVSE = __________ Amps

- Calculated Load of Existing Panel Supplying EVSE = __________ Amps

- Demand Load of Existing Panel or Service Supplying EVSE = _________ Amps (Provide Demand Load Reading from Electric Utility)

Total Load (Existing plus EVSE Load) = __________ Amps

For Single Family Dwellings, if Existing Load is not known by any of the above methods, then the Calculated Load may be estimated using the “Single-Family Residential Permitting Application Example” in the Governor’s Office of Planning and Research “Zero Emission Vehicles in California: Community Readiness Guidebook” https://www.opr.ca.gov

EVSE Rating __________ Amps x 1.25 = __________ Amps = Minimum Ampacity of EVSE Conductor = # __________ AWG

For Single-Family: Size of Existing Service Conductors = # __________ AWG or kcmil - or - : Size of Existing Feeder Conductor Supplying EVSE Panel = # __________ AWG or kcmil (or Verify with Inspector in field)

I hereby acknowledge that the information presented is a true and correct representation of existing conditions at the job site and that any causes for concern as to life-safety verifications may require further substantiation of information.

Signature of Permit Applicant:  ____________________     Date:  _______________

09-30-2016